## Slide 1: ESI Campus Modeling Platform
July 16, 2012

## Slide 2: Virtual-Campus modeling Framework
OPAL RT
BAS
(delta)
Building 1 Load
Building 2 Load
.
.
.
Building N Load
Site
Generation
Electric Vehicles
BEMscape
Building 1 Load
Building 2 Load
Building N Load
Weather, Utility Rate, etc.
Load
Power
Various
Timestep, Modified Schedules, etc.
Central
Plant
Thermal
Electrical Loop
Heating loop
Cooling loop
Control layer
Electrical monitoring
B1
B2
PV1
EV1
PV2
EV2
Chiller
Simulink Development Server
Users
Ball
Kramer
Brackney
Chakraborty
.
.
.

## Slide 3: Virtual-Campus modeling Framework
OPAL-RT, OP5600 HIL Box
BAS
(delta)
Building 1 Load
Building 2 Load
.
.
.
Building N Load
Site
Generation
Electric Vehicles
BEMscape
Building 1 Load
Building 2 Load
Building N Load
Weather, Utility Rate, etc.
Load
Power
Various
Timestep, Modified Schedules, etc.
Central
Plant
Thermal
Electrical Loop
SimPowerSystems
Heating loop
Cooling loop
SimScape
RT-LAB Orchestra API / OPC Server
Electrical monitoring
B1
B2
PV1
EV1
PV2
EV2
Chiller
Matlab
Simulink
SimScape
SimPowerSystems
Simulink Coder
Matlab Coder
Visual Studio
Users
Ball
Kramer
Brackney
Chakraborty
.
.
.
RT-LAB Orchestra API
RT-LAB Host Workstation
12 core, Dell T7500 48GB

## Slide 4: Virtual-Campus modeling cost
OPAL-RT Hardware
OP5600 HIL Box (6cores) $13,147
Reconfig FPGA I/O system $11,624
OPAL-RT Software
RT-Lab Host license $10,063
RT-Lab HIL Target License(1core)$22,217
RT-Lab Orchestra License $4,448
OPAL-RT misc
Onsite training 2days $2,649
Shipping & Handling $1,995
OPAL-RT subtotal $66,143
Possible Future Additions
RT-Lab OPC Server $10,000
KepWare LinkMaster $1,000
WonderWare Info Server Client ??
Extra I/O cards for HIL, Cables ??
Extra RT-Lab Target core licenses??
Host Computer Hardware
Dell T7500 12core , 2.4GHz $9,000
48 GB RAMM, 3 1TB RAID 5 HDs
Mathwork/Other Software
MATLAB (x2) $3,870
Simulink (x2) $5,850
Simscape (x2) $3,600
SimPowerSystems (x1) $2,700
Simulink Coder (x1) $2,925
Matlab Coder (x1) $5,850
Visual Studio (x1) $500
subtotal: $25,295
Platform total: $100,438
Option 1
Host Computer Hardware
Dell T7500 8core , 2.13GHz $6,000
24 GB RAMM, 3 1TB RAID 5 HDs
Option 2
Mathwork/Other Software
MATLAB (x1) $1,935
Simulink (x1) $2,925
Simscape (x1) $1,800
SimPowerSystems (x1) $2,700
Simulink Coder (x1) $2,925
Matlab Coder (x1) $5850
Visual Studio (x1) $500
subtotal: $18,635
Platform total: $90,778
Required components
This option includes an extra
Simulink/Simscape license for model
Development off the Host workstation.
This option includes only licenses for
Host workstation and target HIL box.
All model development done directly on
The Host computer.